## Assumptions
4
| Owner | The Shansha Hydro Power Project Co-Operative Society Ltd. |  |  | Post Tax Equity IRR and Sensitivity Analysis | [5 empty] | Result of Sensitivity Analysis
| Project | 4 MW Small Hydro Project by The Shansha Hydro Power Project Co-Operative Society Ltd. |  |  | Parameter | Variation(%) | Equity IRR | Benchmark |  | Parameter | 10% | Equity IRR | -10% | Breaching Value
| Location | Lahual & Spiti, Himachal Pradesh |  |  | Generation | 0% | 11.13% | 17.77% |  | Generation | 13.73% | 11.13% | 8.45% | 26.08%
| Investment decision date | 2012-11-15 |  |  | Project Cost | 0% |  |  |  | Project Cost | 8.53% | 11.13% | 14.15% | -20.13%
| Assumed commissioning date | 2018-01-15 |  |  | O&M Cost | 0% |  |  |  | O&M Cost | 10.52% | 11.13% | 11.73% | -121.3%
| Financial year | 2018-03-31 |  |  | Tariff | 0% |  |  |  | Tariff | 13.73% | 11.13% | 8.45% | 26.08%
Assumptions for Financial Model
| Parameters | Value | Unit | Source
OPERATIONS
| Installed capacity in MW | 4 | MW | DPR
| Gross Generation in MWh /year | 21030 | MWh/Year | DPR
| Losses (Auxiliary consumption 0.5%, Transmission Losses 2%, Transformation Lossses 0.5%and Outage 5%) | 8% | % | DPR
| Net annual generation in MWh / year | 19347.6 | MWh/Year | Calculated
| Plant Load Factor | 60.02% | % | Calculated from DPR
TARIFF
| Power Tariff (per KWh) | 2.95 | Rs./ kWh | HPERC Tariff Order
| Royalty charges for first 12 years | 0% | % | DPR
| Royalty to Govt. from 13th Year | 12% | % | DPR
| Post-Commissioning LADF Contribution | 1% | % | DPR
ASSOCIATED COSTS
| O&M cost (% of project cost) | 3% | % | DPR
| Escalation of O & M cost (% per year) | 5% | % | DPR
TAXATION & INCENTIVES
| Interest on Working capital | 12% | % | DPR (Chapter 18, Page Number 2)
| Minimum Alternate Tax | 20% | % | https://www.wirc-icai.org/(X(1)S(kve5eiq0brs1h4ea45ccvt55))/material/Tax-matters-for-Mutual-Fund-18022012.pdf
| Income Tax | 32.45% | % | https://www.wirc-icai.org/(X(1)S(kve5eiq0brs1h4ea45ccvt55))/material/Tax-matters-for-Mutual-Fund-18022012.pdf
| Tax holiday (years) | 10 | Years | http://www.mca.gov.in/Ministry/notification/pdf/AS_22.pdf |  |  |  | Page Number 19
| Total Capital Subsidy ( Rs.20 million for 1st MW+ (add. Cap.)*3 Mill) | 29 | Million (INR) | http://mnre.gov.in/file-manager/UserFiles/presentations-pwc-workshop-06092012/IREDA.pdf
LOAN DETAILS
| Debt | 70% | % | DPR (Chapter 18, Page Number 170 & Page Number 171)
| Equity | 30% | %
| Rate of Interest | 12% | %
| Moratirium Period | 0 | Year | http://www.cercind.gov.in/2010/November/Signed_Order_256-2010_RE_Tariff_FY_11-12.pdf |  |  |  | Page 62, Point 3
| Loan Repayment Period | 40 | Quarters | http://www.cercind.gov.in/2010/November/Signed_Order_256-2010_RE_Tariff_FY_11-12.pdf |  |  |  | Page 62, Point 3
DEPRECIATION RATES
Straight line method (SLM)
| Plant and machinery | 5.28% | % | Schedule XIV of Companies Act, 1956 http://www.mca.gov.in/Ministry/latestnews/Explanatory_Statement_alongwith_Schedule_XIV_4dec2008.pdf |  |  |  | Page Number 4
| Civil | 3.34% | %
| Transmission Works | 5.28% | %
Working Capital Requirement
| Period in Months of O&M Expenses | 1 | Month | http://www.cercind.gov.in/2010/November/Signed_Order_256-2010_RE_Tariff_FY_11-12.pdf |  |  |  | Page 29, Point 32
| Period in Months of Receivables Revenue | 2 | Month | http://www.cercind.gov.in/2010/November/Signed_Order_256-2010_RE_Tariff_FY_11-12.pdf |  |  |  | Page 29, Point 32
PROJECT COST (MILLION INR)
| Electrical & mechanical works cost | 102.8 | Million (INR) | Techno Economic Clearance |  |  |  | Page Number 7
| Civil works cost | 151.563 | Million (INR) |  |  |  |  | Page Number 7
| Transmission Works | 18 | Million (INR) |  |  |  |  | Page Number 7
| (a) Total core cost | 272.363 | Million (INR) |  |  |  |  | Page Number 7
Page Number 7
| Escalation till BaseYear 2011 | 5.427 | Million (INR) |  |  |  |  | Page Number 7
| Interest during construction | 17.86 | Million (INR) |  |  |  |  | Page Number 7
| Financial charges | 2.173 | Million (INR) |  |  |  |  | Page Number 7
| (b) Preoperative and miscellaneous expenses | 25.46 | Million (INR) |  |  |  |  | Page Number 7
Page Number 7
| Sum of (a) + (b) | 297.823 | Million (INR) |  |  |  |  | Page Number 7
| (c) LADC @ 1% of (a) + (b) | 2.978 | Million (INR) |  |  |  |  | Page Number 7
| Sum of (a), (b) and © | 300.801 | Million (INR) |  |  |  |  | Page Number 7
| TOTAL PROJECT COST | 300.801 | Million (INR)
Apportionment of Escalation + IDC + Financial Charges + LADC
| Particulars | Actual Cost | Escalation, IDC, Financial Charges & LADC | Total
Rs. Million
| Civil | 151.563 | 15.825 | 167.388
| Electro Mechanical Equipment | 102.8 | 10.7336 | 113.5336
| Transmission works | 18 | 1.8794 | 19.8794
| Total | 272.363 | 28.438 | 300.801
Calculation of Depreciation
Book Depreciation as per Companies Act, 1956
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
| Electrical & mechanical works | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 5.9946 | 0.27248 | 0 | 0
| Civil works | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908 | 5.5908
| Transmission Works | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 1.0496 | 0.047711 | 0 | 0
| Total Depreciation | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 5.911 | 5.5908 | 5.5908
| Salvage value for electrical & mechanical works | Year 1: 11.3534
| Salvage value for civil works | Year 1: 55.5728
| Salvage value for transmission works | Year 1: 1.9879
| Total salvage value | Year 1: 68.9141
O&M cost payment schedule | bar: Year 19
| Year | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
| Outflow | 9.024 | 9.4752 | 9.949 | 10.4464 | 10.9688 | 11.5172 | 12.0931 | 12.6977 | 13.3326 | 13.9992 | 14.6992 | 15.4342 | 16.2059 | 17.0162 | 17.867 | 18.7603 | 19.6983 | 20.6832 | 21.7174 | 22.8033
Working Capital | bar: Year 19
| Year | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
| Net working capital | 10.1694 | 10.207 | 10.2465 | 10.288 | 10.3315 | 10.3772 | 10.4252 | 10.4756 | 10.5285 | 10.584 | 10.6424 | 10.7036 | 9.6264 | 9.6939 | 9.7648 | 9.8393 | 9.9175 | 9.9995 | 10.0857 | 10.1762
| Average working capital | Year 1: 10.2041
| Estimation of Interest on Term Loan | Year 5: (Rs.Million)
Years |  | Year 1: Outstanding Balance; Year 2: Debt Repayment; Year 3: Current Balance; Year 4: Int; Year 5: Interest; Year 6: Annual Installment
12%
Year 1 | I | Year 1: 210.5607; Year 2: 34.264; Year 3: 176.2967; Year 4: 6.3168
| II | Year 1: 176.2967; Year 2: 5.264; Year 3: 171.0327; Year 4: 5.2889
| III | Year 1: 171.0327; Year 2: 5.264; Year 3: 165.7686; Year 4: 5.131
| IV | Year 1: 165.7686; Year 2: 5.264; Year 3: 160.5046; Year 4: 4.9731; Year 5: 21.7098; Year 6: 50.0561
Year 2 | I | Year 1: 160.5046; Year 2: 5.264; Year 3: 155.2406; Year 4: 4.8151
| II | Year 1: 155.2406; Year 2: 5.264; Year 3: 149.9766; Year 4: 4.6572
| III | Year 1: 149.9766; Year 2: 5.264; Year 3: 144.7126; Year 4: 4.4993
| IV | Year 1: 144.7126; Year 2: 5.264; Year 3: 139.4486; Year 4: 4.3414; Year 5: 18.313; Year 6: 21.0561
Year 3 | I | Year 1: 139.4486; Year 2: 5.264; Year 3: 134.1845; Year 4: 4.1835
| II | Year 1: 134.1845; Year 2: 5.264; Year 3: 128.9205; Year 4: 4.0255
| III | Year 1: 128.9205; Year 2: 5.264; Year 3: 123.6565; Year 4: 3.8676
| IV | Year 1: 123.6565; Year 2: 5.264; Year 3: 118.3925; Year 4: 3.7097; Year 5: 15.7863; Year 6: 21.0561
Year 4 | I | Year 1: 118.3925; Year 2: 5.264; Year 3: 113.1285; Year 4: 3.5518
| II | Year 1: 113.1285; Year 2: 5.264; Year 3: 107.8645; Year 4: 3.3939
| III | Year 1: 107.8645; Year 2: 5.264; Year 3: 102.6004; Year 4: 3.2359
| IV | Year 1: 102.6004; Year 2: 5.264; Year 3: 97.3364; Year 4: 3.078; Year 5: 13.2596; Year 6: 21.0561
Year 5 | I | Year 1: 97.3364; Year 2: 5.264; Year 3: 92.0724; Year 4: 2.9201
| II | Year 1: 92.0724; Year 2: 5.264; Year 3: 86.8084; Year 4: 2.7622
| III | Year 1: 86.8084; Year 2: 5.264; Year 3: 81.5444; Year 4: 2.6043
| IV | Year 1: 81.5444; Year 2: 5.264; Year 3: 76.2804; Year 4: 2.4463; Year 5: 10.7328; Year 6: 21.0561
Year 6 | I | Year 1: 76.2804; Year 2: 5.264; Year 3: 71.0163; Year 4: 2.2884
| II | Year 1: 71.0163; Year 2: 5.264; Year 3: 65.7523; Year 4: 2.1305
| III | Year 1: 65.7523; Year 2: 5.264; Year 3: 60.4883; Year 4: 1.9726
| IV | Year 1: 60.4883; Year 2: 5.264; Year 3: 55.2243; Year 4: 1.8146; Year 5: 8.2061; Year 6: 21.0561
Year 7 | I | Year 1: 55.2243; Year 2: 5.264; Year 3: 49.9603; Year 4: 1.6567
| II | Year 1: 49.9603; Year 2: 5.264; Year 3: 44.6962; Year 4: 1.4988
| III | Year 1: 44.6962; Year 2: 5.264; Year 3: 39.4322; Year 4: 1.3409
| IV | Year 1: 39.4322; Year 2: 5.264; Year 3: 34.1682; Year 4: 1.183; Year 5: 5.6794; Year 6: 21.0561
Year 8 | I | Year 1: 34.1682; Year 2: 5.264; Year 3: 28.9042; Year 4: 1.025
| II | Year 1: 28.9042; Year 2: 5.264; Year 3: 23.6402; Year 4: 0.86713
| III | Year 1: 23.6402; Year 2: 5.264; Year 3: 18.3762; Year 4: 0.70921
| IV | Year 1: 18.3762; Year 2: 5.264; Year 3: 13.1121; Year 4: 0.55128; Year 5: 3.1527; Year 6: 21.0561
Year 9 | I | Year 1: 13.1121; Year 2: 5.264; Year 3: 7.8481; Year 4: 0.39336
| II | Year 1: 7.8481; Year 2: 5.264; Year 3: 2.5841; Year 4: 0.23544
| III | Year 1: 2.5841; Year 2: 2.5841; Year 3: 0; Year 4: 0.077523
| IV | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0.70633; Year 6: 13.1121
Year 10 | I | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0
| II | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0
| III | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0
| IV | Year 1: 0; Year 2: 0; Year 3: 0; Year 4: 0; Year 5: 0; Year 6: 0

## Projections
[13 empty] | Rs. in Million | [7 empty] | Rs. in Million
| Year Ending | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
Revenues
| Net Generation (million units) | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476 | 19.3476
| Royalty to be paid to Himachal pradesh Govt. by PP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3217 | 2.3217 | 2.3217 | 2.3217 | 2.3217 | 2.3217 | 2.3217 | 2.3217
| Free Power for LADF | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348 | 0.19348
| Tariff (Rs. Per Unit) | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95 | 2.95
| Total Revenues | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 56.5047 | 49.6556 | 49.6556 | 49.6556 | 49.6556 | 49.6556 | 49.6556 | 49.6556 | 49.6556
Expenses
| O & M Expenses | 9.024 | 9.4752 | 9.949 | 10.4464 | 10.9688 | 11.5172 | 12.0931 | 12.6977 | 13.3326 | 13.9992 | 14.6992 | 15.4342 | 16.2059 | 17.0162 | 17.867 | 18.7603 | 19.6983 | 20.6832 | 21.7174 | 22.8033
| Book Depreciation | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 5.911 | 5.5908 | 5.5908
| Interest on Term Loan | 21.7098 | 18.313 | 15.7863 | 13.2596 | 10.7328 | 8.2061 | 5.6794 | 3.1527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest on working capital | 1.2203 | 1.2248 | 1.2296 | 1.2346 | 1.2398 | 1.2453 | 1.251 | 1.2571 | 1.2634 | 1.2701 | 1.2771 | 1.2844 | 1.1552 | 1.1633 | 1.1718 | 1.1807 | 1.1901 | 1.1999 | 1.2103 | 1.2211
| Total Expenses | 44.5891 | 41.6481 | 39.5998 | 37.5755 | 35.5764 | 33.6036 | 31.6584 | 29.7424 | 27.231 | 27.9043 | 28.6112 | 29.3536 | 29.996 | 30.8144 | 31.6737 | 32.576 | 33.5234 | 27.7941 | 28.5185 | 29.6152
| Profit Before Tax (PBT) | 11.9156 | 14.8566 | 16.9048 | 18.9291 | 20.9283 | 22.9011 | 24.8462 | 26.7623 | 29.2737 | 28.6004 | 27.8934 | 27.1511 | 19.6596 | 18.8412 | 17.9819 | 17.0796 | 16.1322 | 21.8615 | 21.1372 | 20.0404
| Income Tax | 2.3831 | 2.9713 | 3.381 | 3.7858 | 4.1857 | 4.5802 | 4.9692 | 5.3525 | 5.8547 | 5.7201 | 5.5787 | 5.4302 | 3.9319 | 3.7682 | 3.5964 | 3.4159 | 6.7515 | 9.0108 | 8.6719 | 8.316
| Profit After Tax | 9.5325 | 11.8853 | 13.5239 | 15.1433 | 16.7426 | 18.3209 | 19.877 | 21.4098 | 23.4189 | 22.8803 | 22.3147 | 21.7209 | 15.7277 | 15.073 | 14.3855 | 13.6637 | 9.3807 | 12.8507 | 12.4653 | 11.7244
TAX CALCULATION
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
| Profit before Tax | 11.9156 | 14.8566 | 16.9048 | 18.9291 | 20.9283 | 22.9011 | 24.8462 | 26.7623 | 29.2737 | 28.6004 | 27.8934 | 27.1511 | 19.6596 | 18.8412 | 17.9819 | 17.0796 | 16.1322 | 21.8615 | 21.1372 | 20.0404
| Add: Book Depreciation | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 5.911 | 5.5908 | 5.5908
| Profit before depreciation and tax | 24.5505 | 27.4916 | 29.5398 | 31.5641 | 33.5633 | 35.5361 | 37.4812 | 39.3972 | 41.9086 | 41.2353 | 40.5284 | 39.7861 | 32.2946 | 31.4762 | 30.6169 | 29.7146 | 28.7672 | 27.7724 | 26.7279 | 25.6312
| Annual Taxable Income | 24.5505 | 27.4916 | 29.5398 | 31.5641 | 33.5633 | 35.5361 | 37.4812 | 39.3972 | 41.9086 | 41.2353 | 40.5284 | 39.7861 | 32.2946 | 31.4762 | 30.6169 | 29.7146 | 28.7672 | 27.7724 | 26.7279 | 25.6312
| Carried Over Losses for 80 IA computation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Notional Income after adjusting carried over loss for 80 IA computation | 24.5505 | 27.4916 | 29.5398 | 31.5641 | 33.5633 | 35.5361 | 37.4812 | 39.3972 | 41.9086 | 41.2353 | 40.5284 | 39.7861 | 32.2946 | 31.4762 | 30.6169 | 29.7146 | 28.7672 | 27.7724 | 26.7279 | 25.6312
| 80 IA applicable (if Yes =1, No =0) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
| Exempted Income under 80 IA* | 24.5505 | 27.4916 | 29.5398 | 31.5641 | 33.5633 | 35.5361 | 37.4812 | 39.3972 | 41.9086 | 41.2353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Taxable Income after Tax Holiday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.5284 | 39.7861 | 32.2946 | 31.4762 | 30.6169 | 29.7146 | 28.7672 | 27.7724 | 26.7279 | 25.6312
| Income Tax at 32.45% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.1494 | 12.9086 | 10.478 | 10.2124 | 9.9336 | 9.6409 | 9.3335 | 9.0108 | 8.6719 | 8.316
| Minimum Alternate Tax at 20% | 2.3831 | 2.9713 | 3.381 | 3.7858 | 4.1857 | 4.5802 | 4.9692 | 5.3525 | 5.8547 | 5.7201 | 5.5787 | 5.4302 | 3.9319 | 3.7682 | 3.5964 | 3.4159 | 3.2264 | 4.3723 | 4.2274 | 4.0081
| MAT credit brought forward from the previous year | 0 | 2.9713 | 3.381 | 3.7858 | 4.1857 | 4.5802 | 4.9692 | 5.3525 | 5.8547 | 5.7201 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MAT credit used in the current year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5708 | 7.4784 | 6.5461 | 6.4442 | 6.3373 | 6.225 | 2.582 | 0 | 0 | 0
| MAT credit carried forward to the next year | 2.3831 | 5.3544 | 8.7354 | 12.5212 | 16.7069 | 21.2871 | 26.2564 | 31.6088 | 37.4635 | 43.1836 | 35.6129 | 28.1345 | 21.5884 | 15.1442 | 8.807 | 2.582 | 0 | 0 | 0 | 0
| Tax Payable | 2.3831 | 2.9713 | 3.381 | 3.7858 | 4.1857 | 4.5802 | 4.9692 | 5.3525 | 5.8547 | 5.7201 | 5.5787 | 5.4302 | 3.9319 | 3.7682 | 3.5964 | 3.4159 | 6.7515 | 9.0108 | 8.6719 | 8.316
* 100% Tax exemption in 10 consecutive years out first 15 years of operations
CASH FLOWS | Particulars Year Ending | Year -3 | Year -2 | Year -1 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20
| Cash Outflow | Year -3: -30.0801; Year -2: -30.0801; Year -1: -30.0801
| Principal repayment | Year 1: 50.0561; Year 2: 21.0561; Year 3: 21.0561; Year 4: 21.0561; Year 5: 21.0561; Year 6: 21.0561; Year 7: 21.0561; Year 8: 13.1121; Year 9: 0; Year 10: 0
| Total Cash Outflow (A) | -30.0801 | -30.0801 | -30.0801 | 50.0561 | 21.0561 | 21.0561 | 21.0561 | 21.0561 | 21.0561 | 21.0561 | 13.1121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash Inflow
| Profit After Tax |  |  |  | 9.5325 | 11.8853 | 13.5239 | 15.1433 | 16.7426 | 18.3209 | 19.877 | 21.4098 | 23.4189 | 22.8803 | 22.3147 | 21.7209 | 15.7277 | 15.073 | 14.3855 | 13.6637 | 9.3807 | 12.8507 | 12.4653 | 11.7244
| Book Depreciation Added back |  |  |  | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 12.635 | 5.911 | 5.5908 | 5.5908
| Salvage Value | Year 20: 68.9141
| Tax Shield |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Cash inflow (B) | 0 | 0 | 0 | 22.1674 | 24.5202 | 26.1588 | 27.7783 | 29.3776 | 30.9559 | 32.5119 | 34.0448 | 36.0539 | 35.5153 | 34.9497 | 34.3559 | 28.3627 | 27.7079 | 27.0205 | 26.2987 | 22.0157 | 18.7617 | 18.056 | 86.2293
| Net cash flows (B-A) | -30.0801 | -30.0801 | -30.0801 | -27.8886 | 3.4642 | 5.1028 | 6.7222 | 8.3215 | 9.8998 | 11.4559 | 20.9326 | 36.0539 | 35.5153 | 34.9497 | 34.3559 | 28.3627 | 27.7079 | 27.0205 | 26.2987 | 22.0157 | 18.7617 | 18.056 | 86.2293
| Post Tax Equity IRR | Year -3: 11.13%

## Benchmark
As per "Investment Analysis, Version 06, EB 85, Annex 12" the project activity falls under Group I as mentioned in Table 1
Annex 12, EB 85 states, “In situations where an investment analysis is carried out in nominal terms and the available IRR benchmarks are in real terms, project participants can convert the real term values provided in the table below to nominal values by adding the inflation rate. The inflation rate shall be obtained from the inflation forecast of the central bank of the host country for the duration of the crediting period.
Web sources/Comments
Cost of Equity - Real | 11.1% | Table 1 of "Investment Analysis, Version 06, Annex 12, EB 85
Inflation rateIndia | 6% | Survey of Professional Forecasters: Results of Twenty First Round (Q2:2012-13) dated 29 Oct 2012 Ten-year forecasts by RBI for Wholesale Price Index has been taken as the proxy for inflation rate (https://www.rbi.org.in/scripts/QuarterlyPublications.aspx?head=Survey+of+Professional+Forecasters)
Cost of equity - Nominal | 17.77% | The formula for nominal rate of return (R) is (1+r)*(1+q)-1, where ‘r’ stands for real rate of return and ‘q’ stands for inflation.